- Summary

  - This project implements a 3D U-Net for brain tumor segmentation using volumetric MRI data. The objective is to segment tumor subregions, such as edema, necrotic tissue, and enhancing core, from 3D scans to assist in medical diagnostics

- Approach

  - Data:

    - The dataset consists of 3D MRI volumes labeled with 4 segmentation classes (background + 3 tumor regions).

  - Preprocessing:

    - Normalized intensities per volume.

    - Resampled to consistent shape (if needed).

    - Label maps converted to class IDs (0–3).

  - Model: A modified 3D U-Net with:

    - 3 encoder and decoder stages.

    - Strided max pooling only in x–y to preserve depth information.

    - Final 1x1x1 convolution for multi-class output.

  - Optimization:

    - Loss: Combined CrossEntropy + Dice Loss.

    - Optimizer: Adam.

    - LR Scheduler: ReduceLROnPlateau with patience = 3.

    - Gradient checkpointing used for memory efficiency.

- Validation and Test Scores

  - Metrics

    - Per-class Dice coefficient computed for:

    - Class 1 – Non-enhancing core

    - Class 2 – Edema

    - Class 3 – Enhancing tumor

  - Aggregate Dice for total segmentation performance.

- Architecture

  - Input → [Conv3D x2] → Downsample

→ [Conv3D x2] → Downsample

→ [Conv3D x2] → Downsample

→ Bottleneck [Conv3D x2]

→ Upsample → [Conv3D x2]

→ Upsample → [Conv3D x2]

→ Upsample → [Conv3D x2]

→ Final 1x1x1 Conv → Output (C=4)

    - Depth preserved across all layers (downsampling only in x–y).

    - Residual-style skip connections from encoder to decoder.

- Conclusion

  - This prototype successfully implements a memory-efficient 3D segmentation pipeline for brain tumor MRI data. Early results show promising Dice scores even on a small dataset. Next steps include:

  - Scaling to full dataset (100+ samples).

  - Introducing data augmentation (random flips, intensity shifts).

  - Testing transfer learning from pretrained volumetric encoders.